EED-311 			PROTECTION AND SWITCHGEAR

L     T     P

3      1     3

Per-Unit System

Change of base, per unit quantities in three phase system, selection of base values, base quantities in terms of KV and MVA, per unit load impendence, advantages of per unit representation, one-line diagrams, preparation of impendence and reactance diagrams.

Fault Analysis

Type of faults and their occurrence, symmetrical short circuit on the terminals of an unloaded generator, unsymmetrical faults on the terminals of an unloaded generator, faults on power system and their simulation.

Introduction to Power System Protection

Abnormal operating conditions, protective system and its attributes, system transducer, various principles of power system protection.

Protection of Transmission Lines

Over current protection through fuse, thermal and over current relay, IDMT relay and application on distribution feeder, directional over current relays, differential and percentage differential protection, distance protection of transmission lines through impedance, reactance and mho relay, comparison between distance relays.

Transformer Protection

Over current protection, percentage differential protection, incipient faults in transformers, inter-turn fault, protection against over fluxing.

Bus- Bar Protection

Differential protection of bus bars

Generator Protection

Various faults and abnormal operating conditions, protection against unbalanced loading, over speeding, loss of excitation, loss of prime mover.

Advance Protective Systems

Carrier aided protection of transmission lines, static comparators as relays, synthesis of various distance relays using static comparators, numerical protection.

Circuit Breaker

Arc initiation and arc quenching theories, circuit breaker ratings, air circuit breaker, minimum oil circuit breaker, bulk oil circuit breaker ,air blast circuit breaker, SF6 circuit breaker and vaccum circuit breaker.

BOOKS/REFERENCES:

- Elements of Power System Analysis by W.D. Stevenson McGraw Hill,4th Edition, 1982.

- Modern Power System by D.P. Kothari and IJ Nagrath, 3rd edition Tata McGraw Hill New Delhi,2007.

- Electrical Power system by Ashfaq Hussain, 3rd edition, Vikas Publisher, 1982.

- Power System Analysis by Hadi Saadat Tata Mc Graw Hill, New Delhi,2nd Edition,2002.

- Switchgear and Protection by Sunil S.Rao, B.Ravindernath & M.chander ,Khanna Publishers, Delhi,10th Edition,1992

- Power System Protection and Switchgear by Wiley, John Wiley & Sons Canada, Limited, 1977.

EED-312           		ELECTRICAL MACHINES -II

L     T     P

3      1      3

Polyphase Induction Machines

Theory of three phase induction motors, Principle of operation, slip, phasor diagram, equivalent circuits, expression for torque, maximum torque, starting torque and output power, torque-slip and power-slip characteristics, Circle diagram,  Predetermination of characteristics from the circuit diagram, Drawing circle diagram from design parameters and no load and blocked rotor test data, power factor control of three phase induction motor,  Starting of Induction motors, Speed control of induction motor, Cogging & Crawling, applications of poly-phase induction motors.

Single Phase Induction Motors

Principle of operation on the basis of double revolving field theory, Equivalent circuit, performance calculations and characteristics, Starting methods, Maximum starting torque conditions in single phase induction motors,  Hysteresis motor, Reluctance motor and stepper motor.

Synchronous Machines

Types of Exciters for synchronous machines, flux and MMF  phasor diagrams for cylindrical rotor synchronous machines, Armature reaction, open and short circuit characteristics, Leakage reactances, Synchronous reactance, Phasor diagram under loaded conditions, operating characteristics of alternators and their ratings, Predetermination of regulation by EMF and Potier triangle methods for non-salient pole alternators,  Steady state power flow equations, Power angle characteristics, Constant excitation and constant power output, Circle diagram for synchronous machines.  Two reaction theory for salient pole alternators and pre-determination for regulation, slip test, V curves,  Hunting and its suppression, Starting of synchronous motor, Synchronous condenser.

Parallel Operation of Alternators

Synchronization of alternators by dark lamp method, Parallel operation of alternators, Alternator on infinite bus bar, Effect of change of excitation and prime mover inputs.

BOOKS/REFERENCES:

- Electrical Machinery   by P.S. Bhimbra, Khanna Publishers, Delhi,7th Edition,2004

- Electric Machinery by A.E.Fitzerald, C.Kingsley and S.D.Umans, Tata McGraw Hill,6th Edition,2002.

- Generalized theory of Electrical Machines by P.S.Bhimbra, Khanna Publishers Delhi,5th Edition,2003.

- Theory of AC Machinery  by A.S.Langsdorf, Tata McGraw Hill,2nd Edition,1955

- The Performance and Design of Alternating Current-Machines by M.G.Say, Pitman Publishers,2nd Edition, 1952

EED-313     		        SIGNALS AND SYSTEMS

L     T     P

3      1      0

Introduction

Continuous and discrete time signals and systems, their classification. interconnections of systems, systems with and without memory, causality, stability, linearity and time invariance.

Linear Time Invariant Systems

Introduction, discrete LTI systems, Convolution, unit impulse response and convolution integral representation of LTI systems, properties of LTI systems, Stability, causal LTI systems described by difference equation, singularity functions.

Fourier Series Representation

Introduction, Fourier series representation for continuous time periodic signals, convergence of Fourier series,properties of continuous time Fourier series, Fourier series representation of discrete time periodic signals, properties of discrete time Fourier series, response of LTI systems to complex exponentials

Continuous -time Fourier Transform

Introduction, convergence of Fourier transform, properties of continuous time Fourier transform, systems described by linear constant coefficient differential equations.

Discrete- time Fourier Transform

Introduction to DTFT, convergence of the Fourier transform, Gibbs phenomenon, properties of DTFT, system described by linear constant coefficient difference equations.

Time and Frequency Characterization of Signals and Systems

Introduction, magnitude and phase representation of Fourier transform of signals, magnitude and phase representation of frequency response of LTI system, Linear and nonlinear phase, group delay, log magnitude plot, time domain and frequency domain aspects of ideal and  non-ideal  filters.

Sampling

Introduction, sampling theorem, zero order hold for reconstruction of a signal from its samples, frequency aliasing, sampling of discrete time signals, decimation and interpolation.

BOOKS/REFERENCES:

- Signals and Systems by Oppenheim, Willsky & Hamid Nawab,2nd Edition, Pearson

Education, New Delhi,2006.

- Digital Signal Processing by Proakis and Manolakis, Pearson Education, 4th Edition,2009.

- Digital Siganl Processing by Sanjit K Mitra, McGraw-Hill,3rd Edition, 2006

EED-314 		TRANSDUCERS & SIGNAL CONDITIONING

L     T     P

3      1      3

Transducers

Introduction, classification, Mechanical devices as primary detectors, Basic requirements of a transducer, Electrical transducers, Type of transducers for measuring displacement, strain, vibration, pressure, Flow, temperature, force, torque, liquid level, Humidity, P. H. value, velocity (angular & linear), acceleration, Basic principles of resistive transducers, Inductive transducers, capacitive transducers, Thermoelectric transducers, Piezoelectric transducers, Hall effect transducers, Electromechanical transducers, Photoelectric transducers, Digital transducers.

Signal Processing Circuits

Introduction, ideal op-amp, Operational amplifier specifications, Zero crossing detector, Zero crossing detector with Hysteresis, inverting and non-inverting amplifiers, Voltage-follower, adder, subtractor, integrator, Differentiator, voltage to current converter, current to voltage converter, Phase shifter circuit, Absolute-Value circuit, Peak detector, AC to DC converter, logarithmic converter, Differential-amplifier, Instrumentation amplifier, Analog Modulators & demodulators.

Data Display and Recording Systems

Introduction to Analog and digital display methods, Analog Recorders, C.R.O.,  digital input-output Devices, Digital frequency meter, Digital Voltmeter.

Data Transmission and Telemetry

Introduction, Methods of data transmission, General telemetering system,  Electrical telemetering  systems, Transmission channels and media, Multiplexing in telemetering systems, Characteristics of Frequency division multiplexing, Time-division multiplexing,

Data Acquisition and Conversion

Introduction, signal conditioning of the inputs, single channel D A S, Multi-channel D A S, Data Conversion, Multi-plexer, S/H circuit, A/D converter.

BOOKS/REFERENCES:

- Murty, D.V.S., Transducers and Instrumentation, PrenticeHall of India Private Limited, 2nd  Edition, 2008.

- Instrumentation Devices & Systems by C.S. Rangan, G.R. Sarma, V.S.V. Mani ,TMH NewDelhi,2nd Edition,2006.

- A course in Electrical & Electronic Measurements & Instrumentation by A.K.Sawhney, Dhanpat Rai & Sons

- Operational Amplifiers and Linear Integrated Circuits by Robert F. Coughlin & Frederick F.   Driscoll, (PHI) India. Prentice-Hall of India, New Delhi, 6th ed., 2001

- Measurement Systems (application & Design) by Ernest O. Doebelin, Tata McGraw-Hill,

New Delhi, 5th Edition, 2004

EED-315	     MICROELECTRONICS & INTEGRATED CIRCUITS

L   T     P

3   1      0

Monolithic Techniques: Silicon refining for EGS, Crystal growth methods, Wafer preparation, Lithography, Oxidation, Etching, Diffusion, Ion-implantation, Metallization, Interconnection, Monolithic component fabrication: monolithic resistors, capacitors, diodes, BJT, MOS, etc; Testing and Packaging, Yield losses, Introduction to Surface Mount Technology and devices( SMT & SMD).

Integrated Circuits: Linear Integrated Circuits, Advantages and limitations of integrated circuits over discrete component, Classification of IC's, Bipolar and MOS techniques. Hybrid IC Technology: Thick film technology, Thick film processes, thin film technology, thin film processes.

Differential Amplifiers: Emitter coupled differential amplifiers, its configurations, Differential amplifiers with Swamping resistors, Constant current bias, Current mirror, Cascading of differential amplifiers, Level translator, Introduction and block diagram of Operational amplifier.

Specialized IC Applications: Active filters: Introduction and classification, Basic low pass and high pass Butterworth filters, Higher order filters, Band pass filters, Band reject filters, multiple feedback filter, Oscillators: Phase shift oscillator, Wien bridge oscillator, Quadrature oscillator, Introduction to integrated circuit timer, Operating modes of 555 timer and its applications, Phase locked loops, Power amplifiers and Voltage regulators.

BOOKS/REFERENCES:

1) Integrated Electronics-Analog and Digital Circuit Systems, Millman and Halkias.

2) Integrated Circuits, Botkar.

3) Op-amps & Linear Integrated Circuits, Robert F. Coughlin & Frederick F. Driscoll.

4) Op-amps & Linear Integrated Circuits, Ramakant A. Gayekwad.

5) VLSI Technology, S.M. Sze.

6) VLSI Fabrication Principles, Gandhi S.K John Willey & Sons.

7) Linear Integrated circuits, D.R. Chaudhar